## Main
| Bill of materials | Project name:
Part # | Product | Number of products to buy | Cost/Product | Total Cost | URL | Special instructions | Comments
1 | PLC Controllers Opta WiFi | 2 | 280.14 | 560.28 | https://www.mouser.ca/ProductDetail/Arduino/AKX00032?qs=TuK3vfAjtkWefBP01aO4DA%3D%3D
2 | Portenta Machine Control | 1 | 520.26 | 520.26 | https://www.mouser.ca/ProductDetail/Arduino/AKX00032?qs=TuK3vfAjtkWefBP01aO4DA%3D%3D |  | Arduino store: https://store-usa.arduino.cc/products/arduino-portenta-machine-control?selectedStore=us
3 | Schaffner FN3256H-36-33, Power Line Filters 36A 3-Phase Filter | 1 | 304.27 | 304.27 | https://www.mouser.ca/ProductDetail/Schaffner/FN3256H-36-33?qs=qkDYIeTQ%252BEmKG1qw2B7B4w%3D%3D&_gl=1*18yianf*_ga*dW5kZWZpbmVk*_ga_15W4STQT4T*dW5kZWZpbmVk*_ga_1KQLCYKRX3*dW5kZWZpbmVk
4 | TCA-MS 8 Channel Amplifier - Type K Thermocouple | 1 | 389 | 389 | https://www.hgsind.com/product/tca-ms-8-channel-amplifier-type-k-thermocouple?v=208
5 | Power Line Filters ADV EMC/RFI 50A FILTER 3-PHASE | 1 | 221.76 | 221.76 | https://www.mouser.ca/ProductDetail/Schaffner/FN3026HL-50-72?qs=wqIvcg4FpYdUFjDyIOOcnQ%3D%3D
6 | Touch-Safe DIN-Rail Infrequent-Cycle Relay | 1 | 100.29 | 100.29 | https://www.mcmaster.com/9114T53/ |  | 4PST-NO, 24V DC Input, 20A Full Load @ 600V AC
7 |  |  |  | 0
8 |  |  |  | 0
9 |  |  |  | 0
10 |  |  |  | 0
11 |  |  |  | 0
12 |  |  |  | 0
13 |  |  |  | 0
14 |  |  |  | 0
15 |  |  |  | 0
16 |  |  |  | 0
17 |  |  |  | 0
18 |  |  |  | 0
19 |  |  |  | 0
20 |  |  |  | 0
21 |  |  |  | 0
22 |  |  |  | 0
23 |  |  |  | 0
24 |  |  |  | 0
25 |  |  |  | 0

## Enclosures
| Part # | Product | Cost/Product | URL | Description | Width (in) | Height (in) | Depth (in) | Volume (ft^3) | ft^3 / $
#VALUE! | 1 | Versa-Mount Polycarbonate Washdown Enclosure, Submersible, with See-Thru Cover, 19" x 17" x 11-1/2" | 290.62 | https://www.mcmaster.com/5376K312/ | - | 19 | 17 | 11.5 | 2.1496 | 0.73966 | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/537/5376k112-@2x_636995713220808620.png?ver=ImageNotFound
#VALUE! | 2 | Polycarbonate Submersible Enclosure See-Through Hinged Cover, 17.75" x 16-5/16" x 9-5/8" | 179.65 | https://www.mcmaster.com/4058N525/ | - | 17.75 | 16.31 | 9.625 | 1.6125 | 0.8976 | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/405/4058N525multipositive_front_positive_right_standard15_1626723363_126@2x_637623025116138170.png?ver=ImageNotFound
#VALUE! | 3 | ENCLOSURE,WALL MOUNT,NEMA 1,24X18X6, WIEGMANN via Grainger | 197.35 | https://www.grainger.ca/en/product/ENCLOSURE%2CWALL-MOUNT%2CNEMA-1%2C24X18X6/p/WWG4DMW7 | - | 24 | 18 | 6 | 1.5 | 0.76007 | https://static.grainger.com/rp/s/is/image/Grainger/4KP28_AS01?$mdmain$
#VALUE! | 4 | ENCLOSURE,NEMA 1,16 GA,18X18X8 IN | 194.01 | https://www.grainger.ca/en/product/ENCLOSURE%2CNEMA-1%2C16-GA%2C18X18X8-IN/p/WWG6JYZ7 | - | 18 | 18 | 8 | 1.5 | 0.77316 | https://static.grainger.com/rp/s/is/image/Grainger/6JYZ7_AS01?$mdmain$
#VALUE! | 5 | ENCLOSURE,NEMA 3R,16 GA,18X15X8 IN | 242.76 | https://www.grainger.ca/en/product/ENCLOSURE%2CNEMA-3R%2C16-GA%2C18X15X8-IN/p/WWG6JZE9 | - | 18 | 15 | 8 | 1.25 | 0.51491 | https://static.grainger.com/rp/s/is/image/Grainger/6JYZ7_AS01?$mdmain$
#VALUE! | 6 | ENCLOSURE,NEMA 1,14 GA,24X24X6 IN | 220.15 | https://www.grainger.ca/en/product/ENCLOSURE%2CNEMA-1%2C14-GA%2C24X24X6-IN/p/WWG6JYW3 | - | 24 | 24 | 6 | 2 | 0.90847 | https://static.grainger.com/rp/s/is/image/Grainger/6JYU8_AS01?$mdmain$
#VALUE! | 7 | ENCLOSURE,WALL MOUNT,NEMA 1,24X18X6 | 197.35 | https://www.grainger.ca/en/product/ENCLOSURE%2CWALL-MOUNT%2CNEMA-1%2C24X18X6/p/WWG4DMW7 | - | 24 | 18 | 6 | 1.5 | 0.76007 | https://static.grainger.com/rp/s/is/image/Grainger/4KP28_AS01?$mdmain$
#VALUE! | 8 | ENCLOSURE, JUNCTION BOX, NEMA 3R/12 | 257.13 | https://www.grainger.ca/en/product/ENCLOSURE%2C-JUNCTION-BOX%2C-NEMA-3R-12/p/WWG5AAA9 | - | 14 | 16 | 6 | 0.77778 | 0.30248 | https://static.grainger.com/rp/s/is/image/Grainger/5AAA9_AS01?$mdmain$
#VALUE! | 9 | ENCLOSR,METALLC,18IN.H X 18IN.W X 8IN.D | 233.33 | https://www.grainger.ca/en/product/ENCLOSR%2CMETALLC%2C18IN-H-X-18IN-W-X-8IN-D/p/WWG32FH20 | - | 18 | 18 | 8 | 1.5 | 0.64287 | https://static.grainger.com/rp/s/is/image/Grainger/32FG35_AS01?$mdmain$
#VALUE! | 10 |  |  |  | -
#VALUE! | 11 |  |  |  | -
#VALUE! | 12 |  |  |  | -
#VALUE! | 13 |  |  |  | -
#VALUE! | 14 |  |  |  | -
#VALUE! | 15 |  |  |  | -
#VALUE! | 16 |  |  |  | -
#VALUE! | 17 |  |  |  | -
#VALUE! | 18 |  |  |  | -
#VALUE! | 19 |  |  |  | -
#VALUE! | 20 |  |  |  | -
#VALUE! | 21 |  |  |  | -
#VALUE! | 22 |  |  |  | -
#VALUE! | 23 |  |  |  | -
#VALUE! | 24 |  |  |  | -
#VALUE! | 25 |  |  |  | -
-

## TC Signal Conditioners
Part # | Product | Cost/Product | URL | Description
1 | TCA-MS 8 Channel Amplifier - Type K Thermocouple | 389 | https://www.hgsind.com/product/tca-ms-8-channel-amplifier-type-k-thermocouple?v=208
2 | Isolated Thermocouple Signal Conditioner Single Input Output | 33.58 | https://www.brightwinelectronics.com/product/thermocouple-signal-conditioner
3 | K Type Thermocouple to Analog Converter with 1.5KV Isolation | 33.58 | https://www.hicomponent.com/k-type-thermocouple-to-0-5v-0-10v-conditioner.html?search=Thermocouple%20
4 | DIN Rail thermocouple conn |  | https://www.digikey.ca/en/products/detail/weidm%C3%BCller/1024100000/497593
5 | Thermocouple DIN Rail Terminal Blocks, Narrow 10.7 mm Width |  | https://www.omega.com/en-us/temperature-measurement/temperature-connectors-panels-and-block-assemblies/terminal-blocks-and-lugs/drtb-2/p/DRTB-T-2
6 | Thermocouple DIN Terminal Block Connector 2 Position Feed Through Beige 12-26 AWG |  | https://www.digikey.ca/en/products/detail/weidm%C3%BCller/1024100000/497593
7 | DIN Rail Thermocouple Input Signal Conditioners ¦ Low Profile |  | https://www.omega.com/en-us/data-acquisition/signal-conditioners/din-rail-signal-conditioners/p/DRSL-TC-Srs-Sig-Cond
8 | STATUS SEM1605/TC, TEMP TRANSMITTER, THERMOCOUPLE, DIN RAIL |  | https://www.newark.com/status/sem1605-tc/temp-transmitter-thermocouple/dp/13AC9411?MER=TARG-MER-PDP-RECO-STM71168
9 | SENECA WK109TC0 SIGNAL CONDITIONER, FOR THEROCOUPLES |  | https://www.newark.com/seneca/wk109tc0/signal-conditioner-for-therocouples/dp/24M9179
10
11
12
13 |  |  |  |  | TCA-MS-K-8-A4_Thermocouple_Amplifier
14
15
16
17
18
19
20
21
22
23
24
25

## Relays
Pic | Part # | Product | Cost/Product | URL | Description | Link
#VALUE! | 1 | Mech relay, 600V 30A (12vdc_in) [panel mount] | 56.25 | https://www.mouser.ca/ProductDetail/TE-Connectivity-PB/PRD-5DG0-12?qs=fDvdbkAhQ5Z2O7ppLJEKfw%3D%3D | Single mechanical relay | https://www.mouser.ca/images/tycoelectronics/images/pr1h40138a.jpg
#VALUE! | 2 | Touch-Safe DIN-Rail Infrequent-Cycle Relay 4PST-NO, 24V DC Input, 20A Full Load @ 600V AC | 100.29 | https://www.mcmaster.com/9114T53/ | 4PST-NO, 24V DC Input, 20A Full Load @ 600V AC | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/911/9114t371c1-d01c-digital-master1551467810-p9@1x_636676078023373348.png?ver=ImageNotFound
#VALUE! | 3 | Omron J7KN 9A 230VAC 3PST-NO DIN-Rail Motor Contactor with Screw Termination, 49x45x57.5mm, 223g | 115.65 | https://www.mouser.ca/ProductDetail/Omron-Automation-and-Safety/J7KNA-09-10-230?qs=TwPrcXezm70EmzSdi6FnvA%3D%3D | Resistive load: 230V kW 6.3 | https://www.mouser.ca/images/omron/images/J7KNA_series_DSL.jpg
#VALUE! | 4 | DIN-Rail Mount Touch-Safe Screw Terminal Relay 3PST-NO with 1 Normally Open Contact, 12 Terminals, 24V DC Input | 115.65 | https://www.mcmaster.com/70255K42/ | 3PST-NO with 1 Normally Open Contact, 12 Terminals, 24V DC Input | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/702/70255k552c1-d01c-digital-master1559317474-p9@1x_636949189622463610.png?ver=ImageNotFound
#VALUE! | 5 | RELAY,SPST-NO-DM,4 PINS,24VDC Dayton | 80.59 | https://www.grainger.com/product/SCHNEIDER-Open-Power-Relay-Surface-Mounted-6CUU5 | Rated operational power of three-phase resistive loads 230V kW 6.3 | https://static.grainger.com/rp/s/is/image/Grainger/5YZ79_AS01?$zmmain$
#VALUE! | 6 | DIN-Rail Solid-State Relay |  | https://www.grainger.com/product/CRYDOM-Solid-State-Relay-DIN-Rail-21R970?opr=PDPRRDSP&analytics=dsrrItems_21R969 | CRYDOM Solid State Relay: DIN-Rail Mounted, 48 to 600V AC Output, Heat Sink Integral, SCR | https://static.grainger.com/rp/s/is/image/Grainger/21R957_AS02?$adapimg$&hei=536&wid=536
#VALUE! | 7 | ENCLOSED POWER RELAY,4 PIN,24VDC,SPST-NO | 45.39 | https://www.grainger.ca/en/product/ENCLOSED-POWER-RELAY%2C4-PIN%2C24VDC%2CSPST-NO/p/WWG6CVG8 | - | https://static.grainger.com/rp/s/is/image/Grainger/6CVG4_AS01?$zmmain$
#VALUE! | 8 | ENCLOSED POWER RELAY,4 PIN,24VDC,SPST-NO (SCHNEIDER ELECTRIC) | 18.21 | https://www.grainger.ca/en/product/ENCLOSED-POWER-RELAY%2C4-PIN%2C24VDC%2CSPST-NO/p/WWG6CWZ0 | - | https://static.grainger.com/rp/s/is/image/Grainger/6CWZ0_GC01?$zmmain$
#VALUE! | 9
#VALUE! | 10
#VALUE! | 11
#VALUE! | 12 |  |  |  | -
#VALUE! | 13 |  |  |  | -
#VALUE! | 14 |  |  |  | -
#VALUE! | 15 |  |  |  | -
#VALUE! | 16 |  |  |  | -
#VALUE! | 17 |  |  |  | -
#VALUE! | 18 |  |  |  | -
#VALUE! | 19 |  |  |  | -
#VALUE! | 20 |  |  |  | -
#VALUE! | 21 |  |  |  | -
#VALUE! | 22 |  |  |  | -
#VALUE! | 23 |  |  |  | -
#VALUE! | 24 |  |  |  | -
#VALUE! | 25 |  |  |  | -

## Line Filters
Part # | Product | Cost/Product | URL | Description
1 | Power Line Filters ADV EMC/RFI 50A FILTER 3-PHASE | 221.76 | https://www.mouser.ca/ProductDetail/Schaffner/FN3026HL-50-72?qs=wqIvcg4FpYdUFjDyIOOcnQ%3D%3D
2 | Schaffner FN3256H-36-33, Power Line Filters 36A 3-Phase Filter | 304.27 | https://www.mouser.ca/ProductDetail/Schaffner/FN3256H-36-33?qs=qkDYIeTQ%252BEmKG1qw2B7B4w%3D%3D&_gl=1*18yianf*_ga*dW5kZWZpbmVk*_ga_15W4STQT4T*dW5kZWZpbmVk*_ga_1KQLCYKRX3*dW5kZWZpbmVk
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25

## Coils
Part # | Product | Cost/Product | Total Cost | URL | Description | 60
1 | 8 Inch Large Surface Element WB30M2 / AP2634728 | 43.46 | 2607.6 | https://www.appliancepartspros.com/ge-8-inch-large-wb30m2-ap2634728.html
2 | Frigidaire 316442301 Surface Burner Element 8 inch 5 Turns | 39.99 | 2399.4 | https://www.amazon.ca/dp/B0BH3MT898/ref=sspa_dk_detail_0?psc=1&pd_rd_i=B0BH3MT898&pd_rd_w=21TSq&content-id=amzn1.sym.ee8c0ea9-41cf-4400-8d37-c11603ca4c8e&pf_rd_p=ee8c0ea9-41cf-4400-8d37-c11603ca4c8e&pf_rd_r=GED6PWV5TG305JX3XN71&pd_rd_wg=slNCy&pd_rd_r=4994d5b3-965c-4198-8102-3a7eeea17c11&s=hi&sp_csd=d2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWM
3 | LXun Upgraded 2 Pack MP21YA 8" Electric Range Burner Element Unit Set | 18.6 | 1116 | https://www.amazon.ca/LXun-MP21YA-Replacement-Whirlpool-MP22YA/dp/B0BR5KLQ6G/ref=sr_1_8?crid=21SYYDM6789L7&keywords=8%22+coil&qid=1698065730&sprefix=8+coil%2Caps%2C122&sr=8-8 | 2 PER PACK
4 |  |  | 0
5 |  |  | 0
6 |  |  | 0
7 |  |  | 0
8 |  |  | 0
9 |  |  | 0
10 |  |  | 0
11 |  |  | 0
12 |  |  | 0
13 |  |  | 0
14 |  |  | 0
15 |  |  | 0
16 |  |  | 0
17 |  |  | 0
18 |  |  | 0
19 |  |  | 0
20 |  |  | 0
21 |  |  | 0
22 |  |  | 0
23 |  |  | 0
24 |  |  | 0
25 |  |  | 0