## Main
| Bill of materials | Project name:
Part # | Product | Number of products to buy | Cost/Product | Total Cost | URL | Special instructions | Comments
1 | PLC Controllers Opta WiFi | 2 | 280.14 | 560.28 | https://www.mouser.ca/ProductDetail/Arduino/AKX00032?qs=TuK3vfAjtkWefBP01aO4DA%3D%3D
2 | Portenta Machine Control | 1 | 520.26 | 520.26 | https://www.mouser.ca/ProductDetail/Arduino/AKX00032?qs=TuK3vfAjtkWefBP01aO4DA%3D%3D |  | Arduino store: https://store-usa.arduino.cc/products/arduino-portenta-machine-control?selectedStore=us
3 | Versa-Mount Polycarbonate Washdown Enclosure, Submersible, with See-Thru Cover, 19" x 17" x 11-1/2" | 1 | 290.62 | 290.62 | https://www.mcmaster.com/5376K312/
4 | Polycarbonate Submersible Enclosure See-Through Hinged Cover, 17.75" x 16-5/16" x 9-5/8" | 1 | 179.65 | 179.65 | https://www.mcmaster.com/4058N525/
5 | TCA-MS 8 Channel Amplifier - Type K Thermocouple | 2 | 389 | 778 | https://www.hgsind.com/product/tca-ms-8-channel-amplifier-type-k-thermocouple?v=208
6 | Power Line Filters ADV EMC/RFI 50A FILTER 3-PHASE | 1 | 221.76 | 221.76 | https://www.mouser.ca/ProductDetail/Schaffner/FN3026HL-50-72?qs=wqIvcg4FpYdUFjDyIOOcnQ%3D%3D
7 | Touch-Safe DIN-Rail Infrequent-Cycle Relay | 1 | 100.29 | 100.29 | https://www.mcmaster.com/9114T53/ |  | 4PST-NO, 24V DC Input, 20A Full Load @ 600V AC
8 | 8 Inch Large Surface Element WB30M2 / AP2634728 | 1 | 43.46 | 43.46 | https://www.appliancepartspros.com/ge-8-inch-large-wb30m2-ap2634728.html
9 | Frigidaire 316442301 Surface Burner Element 8 inch 5 Turns | 1 | 39.99 | 39.99 | https://www.amazon.ca/dp/B0BH3MT898/ref=sspa_dk_detail_0?psc=1&pd_rd_i=B0BH3MT898&pd_rd_w=21TSq&content-id=amzn1.sym.ee8c0ea9-41cf-4400-8d37-c11603ca4c8e&pf_rd_p=ee8c0ea9-41cf-4400-8d37-c11603ca4c8e&pf_rd_r=GED6PWV5TG305JX3XN71&pd_rd_wg=slNCy&pd_rd_r=4994d5b3-965c-4198-8102-3a7eeea17c11&s=hi&sp_csd=d2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWM
10 | LXun Upgraded 2 Pack MP21YA 8" Electric Range Burner Element Unit Set | 1 | 18.6 | 18.6 | https://www.amazon.ca/LXun-MP21YA-Replacement-Whirlpool-MP22YA/dp/B0BR5KLQ6G/ref=sr_1_8?crid=21SYYDM6789L7&keywords=8%22+coil&qid=1698065730&sprefix=8+coil%2Caps%2C122&sr=8-8
11 | Self-Adhesive Polyimide Fast Response Surface Thermocouples - Highest Temp | 2 | 253.26 | 506.52 | https://www.omega.com/en-us/temperature-measurement/temperature-surface-sensors/sa1xl/p/SA1XL-K-120 | Item# SA1XL-K-120-SRTC | pack of 5
12 | Chemical Set High Temperature Cements | 3 | 28.05 | 84.15 | https://www.omega.com/en-us/accessories/adhesives-and-paste/ob-bond-chem-set/p/CC-HIGH-TEMP
13 | Noctua NF-F12 iPPC 3000 PWM, Heavy Duty Cooling Fan, 4-Pin, 3000 RPM (120mm, Black) | 2 | 32.95 | 65.9 | https://www.amazon.ca/Bearing-NF-F12-iPPC-3000-PWM/dp/B00KFCRATC/ref=sr_1_1?crid=3Q4EGM2B54QUL&keywords=NF-F12+industrial&qid=1698160285&s=electronics&sprefix=nf-f12+industria%2Celectronics%2C140&sr=1-1 |  | 4-pin, 24v
14 | ø22mm XW Series SEMI Emergency Off (EMO) Switches | 1 | 77.69 | 77.69 | https://www.digikey.ca/en/products/detail/idec/XW1E-BV413M-R/8344518 |  | 4PST-3NC/1NO
15 | Noninsulated Jumper for 5mm Wide Modular DIN-Rail Mount Terminal Block | 1 | 8.72 | 8.72 | https://www.mcmaster.com/7641K925/
16 | End Stop for One Circuit Modular DIN-Rail Mount Terminal Block | 10 | 0.94 | 9.4 | https://www.mcmaster.com/7641K35/
17 | Gray End Cover for Modular DIN-Rail Mount Terminal Block | 10 | 0.5 | 5 | https://www.mcmaster.com/7641K31/
18 | Modular DIN-Rail Mount Terminal Block | 25 | 1.69 | 42.25 | https://www.mcmaster.com/7641K921/ | 5 each of: Red, Black, Blue, White, Gray
19 | Steel DIN 3 Rail, 15mm Deep, 2M Long | 2 | 15.91 | 31.82 | https://www.mcmaster.com/8961K19/
20 | Terminals Jonard Tools TCK-178 Solderless Ring and Lug Terminal Kit, 178 Pcs | 1 | 60.83 | 60.83 | https://www.mouser.ca/ProductDetail/Jonard-Industries/TCK-178?qs=4ASt3YYao0WKgwWT8ci7Vw%3D%3D
21 | High-Temperature Plastic Submersible Cord Grip for 0.51"-0.71" Cord OD and M25 Knockout Size | 2 | 33.2 | 66.4 | https://www.mcmaster.com/7799K22/
22 | Multi-Conductor Cables 12AWG 65/30 5C UNSHD 100FT SPOOL SLATE | 1 | 672.57 | 672.57 | https://www.mouser.ca/ProductDetail/Belden-Wire-Cable/73205W-008100?qs=r5DSvlrkXmJs9%252B7cvdP5Ww%3D%3D
23 |  |  |  | 0
24 |  |  |  | 0
25 | AC Plug & Recep |  |  | 0 | For tracking (ignore when ordering)
4384.16

## Enclosures
| Part # | Product | Cost/Product | URL | Description | Width (in) | Height (in) | Depth (in) | Volume (ft^3) | ft^3 / $
#VALUE! | 1 | Versa-Mount Polycarbonate Washdown Enclosure, Submersible, with See-Thru Cover, 19" x 17" x 11-1/2" | 290.62 | https://www.mcmaster.com/5376K312/ | - | 19 | 17 | 11.5 | 2.1496 | 0.73966 | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/537/5376k112-@2x_636995713220808620.png?ver=ImageNotFound
#VALUE! | 2 | Polycarbonate Submersible Enclosure See-Through Hinged Cover, 17.75" x 16-5/16" x 9-5/8" | 179.65 | https://www.mcmaster.com/4058N525/ | - | 17.75 | 16.31 | 9.625 | 1.6125 | 0.8976 | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/405/4058N525multipositive_front_positive_right_standard15_1626723363_126@2x_637623025116138170.png?ver=ImageNotFound
#VALUE! | 3 | ENCLOSURE,WALL MOUNT,NEMA 1,24X18X6, WIEGMANN via Grainger | 197.35 | https://www.grainger.ca/en/product/ENCLOSURE%2CWALL-MOUNT%2CNEMA-1%2C24X18X6/p/WWG4DMW7 | - | 24 | 18 | 6 | 1.5 | 0.76007 | https://static.grainger.com/rp/s/is/image/Grainger/4KP28_AS01?$mdmain$
#VALUE! | 4 | ENCLOSURE,NEMA 1,16 GA,18X18X8 IN | 194.01 | https://www.grainger.ca/en/product/ENCLOSURE%2CNEMA-1%2C16-GA%2C18X18X8-IN/p/WWG6JYZ7 | - | 18 | 18 | 8 | 1.5 | 0.77316 | https://static.grainger.com/rp/s/is/image/Grainger/6JYZ7_AS01?$mdmain$
#VALUE! | 5 | ENCLOSURE,NEMA 3R,16 GA,18X15X8 IN | 242.76 | https://www.grainger.ca/en/product/ENCLOSURE%2CNEMA-3R%2C16-GA%2C18X15X8-IN/p/WWG6JZE9 | - | 18 | 15 | 8 | 1.25 | 0.51491 | https://static.grainger.com/rp/s/is/image/Grainger/6JYZ7_AS01?$mdmain$
#VALUE! | 6 | ENCLOSURE,NEMA 1,14 GA,24X24X6 IN | 220.15 | https://www.grainger.ca/en/product/ENCLOSURE%2CNEMA-1%2C14-GA%2C24X24X6-IN/p/WWG6JYW3 | - | 24 | 24 | 6 | 2 | 0.90847 | https://static.grainger.com/rp/s/is/image/Grainger/6JYU8_AS01?$mdmain$
#VALUE! | 7 | ENCLOSURE,WALL MOUNT,NEMA 1,24X18X6 | 197.35 | https://www.grainger.ca/en/product/ENCLOSURE%2CWALL-MOUNT%2CNEMA-1%2C24X18X6/p/WWG4DMW7 | - | 24 | 18 | 6 | 1.5 | 0.76007 | https://static.grainger.com/rp/s/is/image/Grainger/4KP28_AS01?$mdmain$
#VALUE! | 8 | ENCLOSURE, JUNCTION BOX, NEMA 3R/12 | 257.13 | https://www.grainger.ca/en/product/ENCLOSURE%2C-JUNCTION-BOX%2C-NEMA-3R-12/p/WWG5AAA9 | - | 14 | 16 | 6 | 0.77778 | 0.30248 | https://static.grainger.com/rp/s/is/image/Grainger/5AAA9_AS01?$mdmain$
#VALUE! | 9 | ENCLOSR,METALLC,18IN.H X 18IN.W X 8IN.D | 233.33 | https://www.grainger.ca/en/product/ENCLOSR%2CMETALLC%2C18IN-H-X-18IN-W-X-8IN-D/p/WWG32FH20 | - | 18 | 18 | 8 | 1.5 | 0.64287 | https://static.grainger.com/rp/s/is/image/Grainger/32FG35_AS01?$mdmain$
#VALUE! | 10 |  |  |  | -
#VALUE! | 11 |  |  |  | -
#VALUE! | 12 |  |  |  | -
#VALUE! | 13 |  |  |  | -
#VALUE! | 14 |  |  |  | -
#VALUE! | 15 |  |  |  | -
#VALUE! | 16 |  |  |  | -
#VALUE! | 17 |  |  |  | -
#VALUE! | 18 |  |  |  | -
#VALUE! | 19 |  |  |  | -
#VALUE! | 20 |  |  |  | -
#VALUE! | 21 |  |  |  | -
#VALUE! | 22 |  |  |  | -
#VALUE! | 23 |  |  |  | -
#VALUE! | 24 |  |  |  | -
#VALUE! | 25 |  |  |  | -
-

## TC Signal Conditioners
Part # | Product | Cost/Product | URL | Description
1 | TCA-MS 8 Channel Amplifier - Type K Thermocouple | 389 | https://www.hgsind.com/product/tca-ms-8-channel-amplifier-type-k-thermocouple?v=208
2 | Isolated Thermocouple Signal Conditioner Single Input Output | 33.58 | https://www.brightwinelectronics.com/product/thermocouple-signal-conditioner
3 | K Type Thermocouple to Analog Converter with 1.5KV Isolation | 33.58 | https://www.hicomponent.com/k-type-thermocouple-to-0-5v-0-10v-conditioner.html?search=Thermocouple%20
4 | DIN Rail thermocouple conn |  | https://www.digikey.ca/en/products/detail/weidm%C3%BCller/1024100000/497593
5 | Thermocouple DIN Rail Terminal Blocks, Narrow 10.7 mm Width |  | https://www.omega.com/en-us/temperature-measurement/temperature-connectors-panels-and-block-assemblies/terminal-blocks-and-lugs/drtb-2/p/DRTB-T-2
6 | Thermocouple DIN Terminal Block Connector 2 Position Feed Through Beige 12-26 AWG |  | https://www.digikey.ca/en/products/detail/weidm%C3%BCller/1024100000/497593
7 | DIN Rail Thermocouple Input Signal Conditioners ¦ Low Profile |  | https://www.omega.com/en-us/data-acquisition/signal-conditioners/din-rail-signal-conditioners/p/DRSL-TC-Srs-Sig-Cond
8 | STATUS SEM1605/TC, TEMP TRANSMITTER, THERMOCOUPLE, DIN RAIL |  | https://www.newark.com/status/sem1605-tc/temp-transmitter-thermocouple/dp/13AC9411?MER=TARG-MER-PDP-RECO-STM71168
9 | SENECA WK109TC0 SIGNAL CONDITIONER, FOR THEROCOUPLES |  | https://www.newark.com/seneca/wk109tc0/signal-conditioner-for-therocouples/dp/24M9179
10
11
12
13 |  |  |  |  | TCA-MS-K-8-A4_Thermocouple_Amplifier
14
15
16
17
18
19
20
21
22
23
24
25

## Relays
Pic | Part # | Product | Cost/Product | URL | Description | Link
#VALUE! | 1 | Mech relay, 600V 30A (12vdc_in) [panel mount] | 56.25 | https://www.mouser.ca/ProductDetail/TE-Connectivity-PB/PRD-5DG0-12?qs=fDvdbkAhQ5Z2O7ppLJEKfw%3D%3D | Single mechanical relay | https://www.mouser.ca/images/tycoelectronics/images/pr1h40138a.jpg
#VALUE! | 2 | Touch-Safe DIN-Rail Infrequent-Cycle Relay 4PST-NO, 24V DC Input, 20A Full Load @ 600V AC | 100.29 | https://www.mcmaster.com/9114T53/ | 4PST-NO, 24V DC Input, 20A Full Load @ 600V AC | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/911/9114t371c1-d01c-digital-master1551467810-p9@1x_636676078023373348.png?ver=ImageNotFound
#VALUE! | 3 | Omron J7KN 9A 230VAC 3PST-NO DIN-Rail Motor Contactor with Screw Termination, 49x45x57.5mm, 223g | 115.65 | https://www.mouser.ca/ProductDetail/Omron-Automation-and-Safety/J7KNA-09-10-230?qs=TwPrcXezm70EmzSdi6FnvA%3D%3D | Resistive load: 230V kW 6.3 | https://www.mouser.ca/images/omron/images/J7KNA_series_DSL.jpg
#VALUE! | 4 | DIN-Rail Mount Touch-Safe Screw Terminal Relay 3PST-NO with 1 Normally Open Contact, 12 Terminals, 24V DC Input | 115.65 | https://www.mcmaster.com/70255K42/ | 3PST-NO with 1 Normally Open Contact, 12 Terminals, 24V DC Input | https://www.mcmaster.com/mvC/Contents/gfx/ImageCache/702/70255k552c1-d01c-digital-master1559317474-p9@1x_636949189622463610.png?ver=ImageNotFound
#VALUE! | 5 | RELAY,SPST-NO-DM,4 PINS,24VDC Dayton | 80.59 | https://www.grainger.com/product/SCHNEIDER-Open-Power-Relay-Surface-Mounted-6CUU5 | Rated operational power of three-phase resistive loads 230V kW 6.3 | https://static.grainger.com/rp/s/is/image/Grainger/5YZ79_AS01?$zmmain$
#VALUE! | 6 | DIN-Rail Solid-State Relay |  | https://www.grainger.com/product/CRYDOM-Solid-State-Relay-DIN-Rail-21R970?opr=PDPRRDSP&analytics=dsrrItems_21R969 | CRYDOM Solid State Relay: DIN-Rail Mounted, 48 to 600V AC Output, Heat Sink Integral, SCR | https://static.grainger.com/rp/s/is/image/Grainger/21R957_AS02?$adapimg$&hei=536&wid=536
#VALUE! | 7 | ENCLOSED POWER RELAY,4 PIN,24VDC,SPST-NO | 45.39 | https://www.grainger.ca/en/product/ENCLOSED-POWER-RELAY%2C4-PIN%2C24VDC%2CSPST-NO/p/WWG6CVG8 | - | https://static.grainger.com/rp/s/is/image/Grainger/6CVG4_AS01?$zmmain$
#VALUE! | 8 | ENCLOSED POWER RELAY,4 PIN,24VDC,SPST-NO (SCHNEIDER ELECTRIC) | 18.21 | https://www.grainger.ca/en/product/ENCLOSED-POWER-RELAY%2C4-PIN%2C24VDC%2CSPST-NO/p/WWG6CWZ0 | - | https://static.grainger.com/rp/s/is/image/Grainger/6CWZ0_GC01?$zmmain$
#VALUE! | 9
#VALUE! | 10
#VALUE! | 11
#VALUE! | 12 |  |  |  | -
#VALUE! | 13 |  |  |  | -
#VALUE! | 14 |  |  |  | -
#VALUE! | 15 |  |  |  | -
#VALUE! | 16 |  |  |  | -
#VALUE! | 17 |  |  |  | -
#VALUE! | 18 |  |  |  | -
#VALUE! | 19 |  |  |  | -
#VALUE! | 20 |  |  |  | -
#VALUE! | 21 |  |  |  | -
#VALUE! | 22 |  |  |  | -
#VALUE! | 23 |  |  |  | -
#VALUE! | 24 |  |  |  | -
#VALUE! | 25 |  |  |  | -

## Line Filters
Part # | Product | Cost/Product | URL | Description
1 | Power Line Filters ADV EMC/RFI 50A FILTER 3-PHASE | 221.76 | https://www.mouser.ca/ProductDetail/Schaffner/FN3026HL-50-72?qs=wqIvcg4FpYdUFjDyIOOcnQ%3D%3D
2 | Schaffner FN3256H-36-33, Power Line Filters 36A 3-Phase Filter | 304.27 | https://www.mouser.ca/ProductDetail/Schaffner/FN3256H-36-33?qs=qkDYIeTQ%252BEmKG1qw2B7B4w%3D%3D&_gl=1*18yianf*_ga*dW5kZWZpbmVk*_ga_15W4STQT4T*dW5kZWZpbmVk*_ga_1KQLCYKRX3*dW5kZWZpbmVk
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25

## Coils
Part # | Product | Cost/Product | Total Cost | URL | Description | 60
1 | 8 Inch Large Surface Element WB30M2 / AP2634728 | 43.46 | 2607.6 | https://www.appliancepartspros.com/ge-8-inch-large-wb30m2-ap2634728.html
2 | Frigidaire 316442301 Surface Burner Element 8 inch 5 Turns | 39.99 | 2399.4 | https://www.amazon.ca/dp/B0BH3MT898/ref=sspa_dk_detail_0?psc=1&pd_rd_i=B0BH3MT898&pd_rd_w=21TSq&content-id=amzn1.sym.ee8c0ea9-41cf-4400-8d37-c11603ca4c8e&pf_rd_p=ee8c0ea9-41cf-4400-8d37-c11603ca4c8e&pf_rd_r=GED6PWV5TG305JX3XN71&pd_rd_wg=slNCy&pd_rd_r=4994d5b3-965c-4198-8102-3a7eeea17c11&s=hi&sp_csd=d2lkZ2V0TmFtZT1zcF9kZXRhaWxfdGhlbWF0aWM
3 | LXun Upgraded 2 Pack MP21YA 8" Electric Range Burner Element Unit Set | 18.6 | 1116 | https://www.amazon.ca/LXun-MP21YA-Replacement-Whirlpool-MP22YA/dp/B0BR5KLQ6G/ref=sr_1_8?crid=21SYYDM6789L7&keywords=8%22+coil&qid=1698065730&sprefix=8+coil%2Caps%2C122&sr=8-8 | 2 PER PACK
4 |  |  | 0
5 |  |  | 0
6 |  |  | 0
7 |  |  | 0
8 |  |  | 0
9 |  |  | 0
10 |  |  | 0
11 |  |  | 0
12 |  |  | 0
13 |  |  | 0
14 |  |  | 0
15 |  |  | 0
16 |  |  | 0
17 |  |  | 0
18 |  |  | 0
19 |  |  | 0
20 |  |  | 0
21 |  |  | 0
22 |  |  | 0
23 |  |  | 0
24 |  |  | 0
25 |  |  | 0

## AC Inlets
Part # | Product | Cost/Product | URL | Description
1 | Molex AC Power Plugs & Receptacles P&S 4P5W 60A/3P 120-208 REC.SP | 572.13 | https://www.mouser.ca/ProductDetail/Molex/1301500278?qs=l7cgNqFNU1ickeTQiS9eUw%3D%3D | P&S, Recep
2 | Hubbell HBL560B9W 60 Amp 120/208 Volt 3-Phase 4-Pole 5-Wire Watertight Watertight IEC Pin and Sleeve Inlet | 718.13 | https://www.cooper-electric.com/product/detail/400570/hubbell-wiring-device-hbl560b9w | P&S, Recep
3 | 4P5W 60A 3PH 120/208V Blue WR IEC Pin/Sleeve Inlet | 808.12 | https://www.fastenal.com/product/details/0736231 | P&S, Recep
4 | Molex AC Power Plugs & Receptacles P&S 4P5W 30A 3PY120/208 PLUG | 406.81 | https://www.mouser.ca/ProductDetail/Molex/1301500257?qs=l7cgNqFNU1hhdVpzKWfI3A%3D%3D | P&S, Plug
5 | Molex AC Power Plugs & Receptacles P&S 4P5W 30A 3P 120-208 REC.SP | 353.26 | https://www.mouser.ca/ProductDetail/Molex/1301500263?qs=l7cgNqFNU1jd3l6YUhiZgw%3D%3D | P&S, Recep
6 | Washdown Turn-Lock Connector, Grounded Five-Slot Socket, NEMA L21-30, Attached Cover | 121.6 | https://www.mcmaster.com/69435K229/ | Nema, Recep
7 | Ampehnol 5 (4 Power + PE) Position Circular Connector Receptacle, Male Pins Screw | 23.53 | https://www.digikey.ca/en/products/detail/amphenol-ltw/DC-05BMMB-QL8APP/9696964 | P&S, Recep
8 | LEV Series 30 Amp 120-Volt/208-Volt 3-Phase, 4P, 5W IEC 60309-1 and 60309-2 Pin and Sleeve Connector Watertight, Blue | 297.59 | https://www.homedepot.com/p/Leviton-LEV-Series-30-Amp-120-Volt-208-Volt-3-Phase-4P-5W-IEC-60309-1-and-60309-2-Pin-and-Sleeve-Connector-Watertight-Blue-530C9WLEV/319356983 | P&S, Recep
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25

## DIN Blocks
Part # | Product | Cost/Product | URL | Description
1 |  |  | https://www.mcmaster.com/products/din-rail-mount-terminal-blocks/modular-din-rail-mount-terminal-blocks-11/
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25